شرح فنی دستگاه سختی سنج یونیورسال  QATM مدل Qness750  E EVO:

الف) مشخصات فنی دستگاه:

| Item | Designation |
| --- | --- |
| QB0100110 | Manual version - QpixT2 12" Touch: Qness 250 E EVO |
| QB0100402 | Choose Variant: Manual version - QpixT2 12" Touch |
| QA0088800 | Manual version - QpixT2 12" Touch: Qness 250 E EVO |
| QA0072700 | Down holder: Down holder - motorized swiveling |
| QA0067502 | XLaser - Macro hardness tester |
| QEB28116EA | Rockwell - Test module EVO |
| QEB28108EA | Collision protection Qness 750 EVO |
| QEB28104EA | Ball holder with 1/16" ball, pressed-in |
| QEB28102EA | Ball holder with 1/8" ball, pressed-in |
| QEV28000EA | Ball holder with 1/4" ball, pressed-in |
| QEB28010EA | Ball holder with 1/2" ball, pressed-in |
| QEB28025EA | Diamond Vickers |
| QEB28050EA | Ball holder with 1 mm ball, pressed-in |
| QEB28100EA | Ball holder with 2.5 mm ball, pressed-in |
| QA0063704 | Ball holder with 5 mm ball, pressed-in |
| QSO150300 | Ball holder with 10 mm ball, pressed-in |
| QSO150500 | XLED 5x - AL 45 / WD 19 |
| QSO007800 | Lens 5x/0.15 - FL 45 / WD 11.7 |
| QSO024901 | Lens 20x/0.4 - FL 45 / WD 12 |
|  | PC system: without PC-System |
| QP0260400 | Qpix T2, Qpix Control2 „R/M" - Jominy |
| QP0013201 | Standard down holder included: Down holder element TC/SB 76x50 mm clamping surface |
| QP0046300 | Plane anvil Ø 100 mm with magnets |
| QP0013400 | Plane anvil, Ø 200 mm |
| QP0013600 | Prism anvil ø 4 - 50 mm |
| QSO013700 | Prism anvil ø 30 - 250 mm |
| QSO166100 | Precision vice, clamping width 100 mm |
| QSO165000 | Dust protection cap - Qness 250/750/3000 M/E EVO |
| QVV0030 | Documentation |
| QVV0001 | Work certificate |
| QVV0002 | Hardness comparison chart |
| REFRANCE BLOCK |  |
| 10 TO 50 HRBW |  |
| 60 TO 80 HRBW |  |
| 10 TO 50 HRBW |  |
| 85 TO 100 HRBW |  |
| 10 TO 30 HRC |  |
| 35 TO 55 HRC |  |
| 60 TO 70 HRC |  |
| ≤ 200 HBW |  |
| 300 TO 400 HBW |  |
| ≥ 500 HBW |  |